BULLETIN                                              Mrt. ‘12, 542S/6

Industrieterrein ‘De Wetering’

Ambachtstraat 18

GENERATING SETS WITH	                                           2861 EX Bergambacht/NL

YANMAR ENGINE                                                                 Tel. (+31)(0)182 35 46 66

MEC-ALTE ALTERNATOR						   Fax (+31)(0)182 35 46 47

OPTION NEWAGE STAMFORD ALTERNATOR		      E-mail Pols.aggregaten@wxs.nl 				   												   Internet www.pols-aggregaten.nl

m

| Model | Power Output P.R.P.(1) | Cyl. | Asp. | Engine model | Dimension mm | approxWeight Kg. | Fuel tank Cap. Lt. | LPS (**) dB(A) | ANALOG Control Panel M6 Manual/Auto Start MCB 4P |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | KVA | KW |  |  |  | Length | Width | Height |  |  |  | Price in EURO |
| HYW-8 | 8,3 | 6,6 | 3 | NA | 3TNV76 | 1.475 | 750 | 1.110 | 635 | 22 | 64.0 |  |
| HYW-13 | 12,5 | 10,0 | 3 | NA | 3TNV88 | 1.475 | 750 | 1.110 | 690 | 22 | 59.0 |  |
| HYW-17 | 17,0 | 13,6 | 4 | NA | 4TNV88 | 2.100 | 975 | 1.325 | 870 | 100 | 60.0 |  |
| HYW-20 | 20,0 | 16,0 | 4 | TC | 4TNV84 T | 2.100 | 975 | 1.325 | 885 | 100 | 57.0 |  |
| HYW-35 | 34,0 | 27,8 | 4 | NA | 4TNV98 | 2.100 | 975 | 1.325 | 950 | 100 | 63.0 |  |
| HYW-45 | 41,0 | 32,0 | 4 | TC | 4TNV98 T | 2.100 | 975 | 1.325 | 960 | 100 | 62.0 |  |
| 220/230 Volt – 1 Phase – 50 Hz – 1500 r.p.m. | Control Panel M6 Manual/Auto Start MCB 2P |
| HYW-9M5 | 7,5 | 6 | 3 | NA | 3TNV76 GGE/IDI | 1.475 | 750 | 1.110 | 632 | 22 | 64,0 |  |
| HYW-13M5 | 11,9 | 9,5 | 3 | NA | 3TNV88 GGE/DI | 1.475 | 750 | 1.110 | 691 | 22 | 59,0 |  |

** sound pressure level at 7 M

( 1) Prime Power (P.R.P.) – ISO 8528: prime power is the maximum power available during a variable power sequence, which may be run for an unlimited number of hours per year, between stated maintenance intervals. The permissible average power output a during 24 hours period shall not exceed 80% of the prime power. 10% overload available for governing purpose only.

Ambient conditions of reference: 1000 mbar, 25%C, 30% relative humidity. Power according to ISO 3046 normative

### OPTIONS:	Distribution Box CB 10, HYW-17-20-35-45				On request    		Price: excl. VAT, ex works Bergambacht

### High capacity Fuel tank, capacity 100 ltr., HYW-13			On Request

### High capacity Fuel tank, capacity 190 ltr., HYW-17-20		On Request		Delivery time: stock, subject being unsold

### High capacity Fuel tank, capacity 330 ltr., HYW-17 to HYW-45	On Request		We reserve the right to change specifications without notice.

### STANDARD:	BOUNDED BASEFRAME

### Lube Oil Drain Pump

### For Inland Navigation: inclusive CCR2/ZKR2

Op al onze offertes, op alle opdrachten aan ons en op alle met ons gesloten overeenkomsten zijn toepasselijk de METAALUNIEVOORWAARDEN, gedeponeerd ter Griffie van de Rechtbank te Rotterdam, zoals deze luiden volgens de laatstelijk aldaar neergelegde tekst. Zie bijlage

# Text boxes

S O U N D P R O O F  V E R S I O N

380/220 – 400/230 – 415/240 Volt – 3 Phase – 50 Hz – 1500 r.p.m.

Inclusief   CCR2

Inklusive  ZKR2

According To Directive 97/68EC, STAGE 111A

HYW-13 to HYW-35